## Status
CONTRL_D DNP Status Point List
LOCATION: |  |  |  | RTU/DEVICE TYPE: |  |  |  |  | STA DC VOLTAGE: | [10 empty] | NOTE:
DATE: |  |  |  | EMS DEVICE NUM: |  |  |  |  | POINTLIST REVISION:
DEVICE NAME: |  |  |  | RTU/SAS DNP ADDRESS: |  |  |  |  | A SYSTEM:
TDBU SAP: |  |  |  | PSC ENGINEER: |  |  |  |  | SWITCHING CENTER:
PSC SAP: |  |  |  | CRQ NUMBER: |  |  |  |  | BES ASSET: | [10 empty] | TESTING HISTORY
| CONTROL ADDRESS |  | STATUS STATE PAIR INFO |  |  | ALARMS |  |  |  |  | CROSS REFERENCE EXISTING EMS DATA |  |  |  | TAB-1 BASED | IED INFORMATION
TAB DEC DNP INDEX | 0 BASED CONTROL ADDRESS | POINT NAME | NORMAL STATE | 1_STATE | 0_STATE | AOR | DOG_1 /3 | DOG_2 /4 | EMS TP NUMBER | VOLTAGE BASE | EXISTING DEVICE NAME | EXISTING POINT NAME | EXISTING TAB NUM | ITEM | CONTROL ADDRESS | LAN (CARD_PORT) | IED ADDRESS | I/O_REGISTER DNP_INDEX | PLC_MAPPING OBJECT_NAME
0 |  | RTU MONITOR JUMPER CONTROL INHIBIT 0 | 1 | NORMAL | ALARM | 43 |  |  |  | 0KV
1 | 1 | STINGER SWITCH 115KV 1 | 1 | AUTO | SOLID | 43 |  |  |  | 115KV
2 |  | ftnyo 115KV CB 1 | 1 | CLOSE | OPEN | 43 |  |  |  | 115KV
3 | 1 | INYO 115KV CB 2 | 1 | CLOSE | OPEN | 43 |  |  |  | 115KV
4 |  | CASA DIABLO-SHERWIN 115KV CB 5 | 1 | CLOSE | OPEN | 43 |  |  |  | 115KV
5 | 6 | HAIWEE-INYOKERN 115KV CB 7 | 1 | CLOSE | OPEN | 43 |  |  |  | 115KV
6 | 7 | COSO-HAIWEE-INYOKERN 115KV CB 9 | 1 | CLOSE | OPEN | 43 |  |  |  | 115KV
7 |  | BISHOP CREEK PLANT NO. 3 & 4 115KV CB E | 1 | CLOSE | OPEN | 43 |  |  |  | 115KV
8 | 1 | OXBOW 115KV CB 17 | 1 | CLOSE | OPEN | 43 |  |  |  | 115KV
9 |  | OXBOW CUST CB I 10 | 1 | CLOSE | OPEN | 43 |  |  |  | 0KV
10 |  | WWIXIE VALLEY CUST CBF Tn 1 | 1 | CLOSE | OPEN | 43 |  |  |  | 0KV
11 |  | SPARE 3 | 1 |  |  | 43 |  |  |  | 0KV
12 |  | SPARE 4f— | 1 |  |  | 43 |  |  |  | 0KV
13 |  | fNO. 1 | 1 | CLOSE | OPEN | 43 |  |  |  | 0KV
14 |  | SPARE 17 | 1 |  |  | 43 |  |  |  | 0KV
15 | 18 | ENTRY | 1 | NORMAL | ALARM | 43 |  |  |  | 0KV
16 | 1 | fi1S5KV CB LOW GAS7AIR 19 | 1 | NORMAL | ALARM | 43 |  |  |  | 0KV
17 |  | 115KV CB GEN | 1 | NORMAL | ALARM | 43 |  |  |  | 115KV
18 |  | SPARE 2a | 1 |  |  | 43 |  |  |  | 0KV
19 |  | SPARE 30 | 1 |  |  | 43 |  |  |  | 0KV
20 |  | SPARE 3 | 1 |  |  | 43 |  |  |  | 0KV
21 |  | SPARE x f—i— | 1 |  |  | 43 |  |  |  | 0KV
22 |  | SPARE 33 | 1 |  |  | 43 |  |  |  | 0KV
23 |  | FTRANS BK SUDDENTPRESS RESET “1 - | 1 |  |  | 43 |  |  |  | 0KV
24 |  | INO. 1 | 1 |  |  | 43 |  |  |  | 0KV
25 |  | FNO. 1 | 1 |  |  | 43 |  |  |  | 0KV
26 |  | NO. 1 BANK 63X FAIL | 1 |  |  | 43 |  |  |  | 0KV
27 |  | NO. 3 BANK SEL-387 DIFF FAIL I | 1 |  |  | 43 |  |  |  | 0KV
28 |  | NO. 3 BANK SEL-387 DIFF TRIP | 1 |  |  | 43 |  |  |  | 0KV
29 |  | NO. 3 BANK SEL-351 OC FAIL | 1 |  |  | 43 |  |  |  | 0KV
30 |  | INO. 3 | 1 |  |  | 43 |  |  |  | 0KV
31 |  | INO. 3 | 1 |  |  | 43 |  |  |  | 0KV
32 |  | 115KV UNDERFREQ POT FAIL 54 | 1 | NORMAL | ALARM | 43 |  |  |  | 115KV
33 |  | EAST 115KV BUS DIFF SYS A RLY FAIL | 1 |  |  | 43 |  |  |  | 115KV
34 |  | EAST 115KV BUS DIFF SYS B RLY FAIL | 1 |  |  | 43 |  |  |  | 115KV
35 |  | WEST 115KV BUS DIFF SYS B RLY FAIL | 1 |  |  | 43 |  |  |  | 115KV
36 |  | WEST 115KV BUS DIFF SYS A RLY TRIP | 1 |  |  | 43 |  |  |  | 115KV
37 |  | WEST 115KV BUS DIFF SYS B RLY TRIP | 1 |  |  | 43 |  |  |  | 115KV
38 |  | 115KV DFR FAIL 64 | 1 |  |  | 43 |  |  |  | 115KV
39 |  | 115KV DFR OPERATION 65 | 1 |  |  | 43 |  |  |  | 115KV
40 | 1 | 115KV UNDERFREQ RELAY PICK UP 66 | 1 | NORMAL | ALARM | 43 |  |  |  | 115KV
41 | 1 | 115KV UNDERFREQ RELAY FAIL 67 | 1 | NORMAL | ALARM | 43 |  |  |  | 115KV
42 |  | ICASA DIABLO REACTOR OV | 1 |  |  | 43 |  |  |  | 0KV
43 | 70 | ICASA DIABLO REACTOR UV | 1 |  |  | 43 |  |  |  | 0KV
44 |  | ICASA D-SHERWIN REACTOR CSF 71 | 1 |  |  | 43 |  |  |  | 0KV
45 |  | ICASA D-SHERWIN REACTOR OV | 1 |  |  | 43 |  |  |  | 0KV
46 | 3 | FCASA D-SHERWIN REACTOR UV | 1 |  |  | 43 |  |  |  | 0KV
47 |  | cD SHUNT REACTOR TROUBLE AL | 1 |  |  | 43 |  |  |  | 0KV
48 |  | CD-S SHUNT REACTOR TROUBLE AL | 1 |  |  | 43 |  |  |  | 0KV
49 |  | ADDED POINT FOR 115KV LINE POS. 4 | 1 |  |  | 43 |  |  |  | 115KV
50 | 1 | DIG PT LISTING RTU SYSTEM T15KV SH. 2 | 1 |  |  | 43 |  |  |  | 0KV
51 |  | ONE LINE FOR CONSTRUCTION 3 | 1 |  |  | 43 |  |  |  | 0KV

## Analog
CONTRL_D DNP Analog Point List
LOCATION: |  |  |  | RTU/DEVICE MODEL: |  |  |  |  | STA DC VOLTAGE: | [7 empty] | NOTE:
DATE: |  |  |  | EMS DEVICE NUM: |  |  |  |  | POINTLIST REVISION: | [7 empty] | All fullscale and limits are true values
DEVICE NAME: |  |  |  | RTU/SAS ADDRESS: |  |  |  |  | A SYSTEM:
TDBU SAP: |  |  |  | PSC ENGINEER: |  |  |  |  | SWITCHING CENTER:
PSC SAP: |  |  |  | PSC TECHENICIAN: |  |  |  |  | TESTMAN:
EMS DATABASE INFORMATION | [12 empty] | CROSS REFERENCE INFORMATION |  |  | FIELD INFORMATION
|  | SCALING |  | FULL SCALE |  | LIMITS |  | ALARMS |  |  |  |  | EXISTING EMS DATA |  |  | IED INFORMATION
TAB DEC DNP INDEX | POINT NAME | COEFFICIENT | OFFSET | VALUE | UNIT | LOW LIMIT | HIGH LIMIT | AOR | DOG_1/3 | DOG_2/4 | EMS_TP NUMBER | VOLTAGE BASE | EXISTING DEVICE NAME | EXISTING POINT NAME | EXISTING TAB NUM | ITEM | LAN_CARD-PORT | IED_ADDRESS | I/O_REGISTER_or DNP_INDEX
0 | fF F | [6 empty] | 43
1 | I | [6 empty] | 43
2 | i RESERVED FOR 115KV LINE Pos. 7 | [6 empty] | 43
3 | I | [6 empty] | 43
4 | F | [6 empty] | 43
5 | fF L RESERVED FOR 115KV LINE POs. 8 | [6 empty] | 43
6 | 115KV LBFB ARMED | [6 empty] | 43
7 | 115KV LBFB TRIP | [6 empty] | 43
8 | 15KV CB 1 LBFB RELAY PS % FAIL \ | [6 empty] | 43
9 | I115KV CB 1 | [6 empty] | 43
10 | f115KV CB 2 | [6 empty] | 43
11 | l115KV CB 2 | [6 empty] | 43
12 | 115KV CB 3 | [6 empty] | 43
13 | 115KV CB 3 | [6 empty] | 43
14 | 115KV CB 5 | [6 empty] | 43
15 | 115KV CB 5 | [6 empty] | 43
16 | 115KV CB 7 | [6 empty] | 43
17 | 115KV CB 7 | [6 empty] | 43
18 | 115KV CB 9 | [6 empty] | 43
19 | 115KV CB 9 | [6 empty] | 43
20 | TS5KV CB 11" LBFB RELAY PS 16 | [6 empty] | 43
21 | I115KV CB 11 | [6 empty] | 43
22 | IN15KV CB 13 | [6 empty] | 43
23 | I115KV CB 15 | [6 empty] | 43
24 | I115KV CB 15 | [6 empty] | 43
25 | IN15KV CB 17 | [6 empty] | 43
26 | l115KV CB 17 | [6 empty] | 43
27 | 115KV CB 23 | [6 empty] | 43
28 | 115KV CB 23 | [6 empty] | 43
29 | SPARE | [6 empty] | 43
30 | 115KV CB 5 | [6 empty] | 43
31 | l115KV CB 9 | [6 empty] | 43
32 | l115KV cB 11 | [6 empty] | 43
33 | 115K CB 15 | [6 empty] | 43
34 | l115KV CB 23 | [6 empty] | 43
35 | SEL-2020 COM | [6 empty] | 43
36 | lcoso HWE A TGT | [6 empty] | 43
37 | lcoso HWE B TGT | [6 empty] | 43
38 | lcoso HWE GRD TGT | [6 empty] | 43
39 | ISILVERPEAK C C TCT | [6 empty] | 43
40 | ANALOG PT LISTING RTU SYSTEM 115KV DIGITAL POINT LISTING ae | [6 empty] | 43
41 | DIG PT LISTING RTU SYSTEM 115KV SH. 1 | [6 empty] | 43
42 | ED RTU SYSTEM 115-55KV —— ADDED OPD ALARMS FOR D60 | [6 empty] | 43
43 | ONE LINE FOR CONSTRUCTION 0 | [6 empty] | 43